MetaboFlow v1.0

Untargeted Metabolomics Quad-Workflow Integrated Pipeline

User Manual

# 1. Overview

MetaboFlow is an R-based end-to-end untargeted metabolomics pipeline integrating feature extraction, normalization, differential analysis, annotation, and pathway enrichment. Key feature: “one input, four parallel workflows” — raw mzXML files are processed through four independent pathway analysis engines for cross-validation. Three ORA (Over-Representation Analysis) workflows analyze the list of differential metabolites, and one QEA (Quantitative Enrichment Analysis) workflow directly utilizes the full concentration/intensity matrix for higher statistical power. All figures are rendered to Nature publication standards (NPG palette, Arial font, dual PDF vector + TIFF 300 DPI output).

## 1.1 Four Workflows

| Workflow | Type | Engine | Database | Input | Strength |
| --- | --- | --- | --- | --- | --- |
| WF1: SMPDB Enrichment | ORA | tidymass enrich_hmdb | SMPDB/HMDB | HMDB IDs (diff list) | Seamless tidymass integration |
| WF2: MSEA | ORA | MetaboAnalystR | SMPDB metabolite sets | HMDB IDs (diff list) | Hypergeometric test, updated sets |
| WF3: KEGG Topology | ORA | MetaboAnalystR | KEGG species-specific | KEGG IDs (diff list) | Pathway Impact topological score |
| WF4: QEA | QEA | MetaboAnalystR | SMPDB pathway | Concentration matrix | Uses full quantitative data, GlobalTest |

ORA vs QEA:

- ORA (WF1–3): Takes a list of pre-screened differential metabolites and tests for pathway over-representation. Input is a compound ID list.

- QEA (WF4): Takes the full concentration/intensity matrix of annotated metabolites with group labels. No pre-screening needed. Uses the GlobalTest algorithm for higher statistical power by leveraging quantitative information.

Cross-validating ORA and QEA results provides the most robust pathway conclusions.

# 2. System Requirements

- R >= 4.2.0

- OS: Windows 10/11, macOS, Linux

- RAM: >= 8 GB (16 GB for large datasets)

- Disk: >= 2 GB free

- Network: required for first-run installation

# 3. Input Data

## 3.1 Raw Data

Place .mzXML files in one directory. Naming: [GroupName][Number].mzXML. E.g.: control1.mzXML, MethiocarbA1.mzXML. Groups are auto-detected by stripping trailing digits from filenames.

Important: Group names must NOT contain digits. Do not use names like “Dose10mg1.mzXML”.

## 3.2 Databases

Place these .rda files in DB_DIR: inhouse_Metabolite.database (with RT), hmdb_ms2_merged.rda, massbank_ms2_merged.rda, mona_ms2_merged.rda, orbitrap_database0.0.3.rda.

# 4. Parameters

| Parameter | Default | Description | Tuning |
| --- | --- | --- | --- |
| WORK_DIR | “path/to/your/data” | Data directory | Set to actual path; use forward slashes on all OS |
| POLARITY | “positive” | Ionization polarity | positive or negative |
| LOGFC_CUTOFF | 0.176 | log10 FC threshold | 0.176(1.5x) or 0.301(2x) |
| ALPHA | 0.05 | FDR threshold | Relax to 0.1 if <10 hits |
| ORGANISM | “dre” | Species code | dre=zebrafish, hsa=human, mmu=mouse |
| MS1_PPM | 15 | MS1 tolerance (ppm) | Orbitrap:5-15, QTOF:15-30 |
| PEAK_WIDTH | c(5,30) | Peak width (sec) | Narrow:c(3,15), Wide:c(10,60) |
| SN_THRESH | 5 | S/N threshold | Higher=fewer false peaks |
| NOISE_LEVEL | 500 | Noise level | Adjust to instrument baseline |
| MIN_FRACTION | 0.5 | Min detection fraction | 0.5=50% samples |
| N_THREADS | 10 | Parallel threads | ~80% of CPU cores |
| INTENSITY_FLOOR | 1000 | Min intensity | Features below are filtered |
| NORM_METHOD | “median” | Normalization | median, mean, pqn |
| CONTROL_GROUP | “control” | Control group name | Must match the filename prefix of your control samples |
| MODEL_GROUP | “MethiocarbA” | Model/treatment group name | Must match the filename prefix of your model samples |
| DB_DIR | “path/to/your/inhouse_database” | Database directory | Use forward slashes or file.path() for cross-platform |

Note on CONTROL_GROUP and MODEL_GROUP: These must exactly match the group names derived from your filenames (after stripping trailing digits). For example, if your files are named “control1.mzXML”, “control2.mzXML”, “DrugA1.mzXML”, “DrugA2.mzXML”, set CONTROL_GROUP to “control” and MODEL_GROUP to “DrugA”.

Cross-platform path note: Use forward slashes (/) in all paths on all operating systems. R handles forward slashes correctly on Windows, macOS, and Linux.

# 5. Parameter Effects

## 5.1 LOGFC_CUTOFF (Most Critical)

| logFC | FC | Effect |
| --- | --- | --- |
| 0.079 | 1.2x | Too lenient, technical noise, high FPR |
| 0.176 | 1.5x | Recommended, balanced |
| 0.301 | 2.0x | Strict, for strong effects |
| 0.477 | 3.0x | Very strict, dramatic changes only |

## 5.2 ALPHA

FDR-adjusted. <10 hits: relax to 0.1. >500 hits: tighten to 0.01.

## 5.3 ORGANISM

Affects WF3 only. Codes: hsa(human), mmu(mouse), rno(rat), dre(zebrafish), dme(fly), cel(worm).

# 6. Output Files

| Directory | File | Description |
| --- | --- | --- |
| Root | PCA_scores.pdf/tiff | PCA scores plot |
| 差异代谢峰/ | *_diff.csv + volcano | Differential features + Nature volcano plot |
| 差异代谢物/ | smpdb_* | WF1: SMPDB enrichment (ORA) |
| 差异代谢物/ | msea_* | WF2: MSEA enrichment (ORA) |
| 差异代谢物/ | kegg_* + metabolome_view | WF3: KEGG topology + Impact plot (ORA) |
| 差异代谢物/ | qea_* | WF4: Quantitative Enrichment Analysis (QEA) |
| 差异代谢物/ | heatmap_* | Heatmap |
| 差异代谢物/ | summary_* | Parameter summary |
| Boxplot/ | *.pdf/tiff | Per-metabolite boxplots |

# 7. Figure Specs

All figures follow Nature submission guidelines:

- Font: Arial, 7–9 pt body text

- Format: Dual output — PDF (vector) + TIFF (300 DPI, LZW compression)

- Colors: NPG palette (Nature Publishing Group)

- Volcano: Blue (#3C5488) down, grey NS, red (#E64B35) up

- Heatmap: Navy → white → red gradient

- Pathway Bubbles: Viridis gradient (yellow → green → blue → purple)

- Size: Single-column 5×5 in, double-column 7×5 in

# 8. FAQ

## Q1: MetaboAnalystR install fails?

Manually install failing Bioconductor packages first. WF1 runs independently without MetaboAnalystR.

## Q2: Zero differential metabolites?

Relax: (1) LOGFC_CUTOFF to 0.079; (2) ALPHA to 0.1; (3) Check PCA separation.

## Q3: All pathway adj.P > 0.05?

Common with <20 metabolites. Use raw p for exploration (note in paper), compare across 4 WFs, increase sample size.

## Q4: Inconsistent across workflows?

Expected — ORA and QEA use fundamentally different statistical approaches. Pathways significant in multiple workflows are most reliable. WF3 high-Impact + low-p pathways are priority. WF4 (QEA) results are particularly valuable because they use the full quantitative data.

## Q5: What is the difference between WF1–3 and WF4?

WF1–3 use ORA: first screen differential metabolites (limma), then test if they are enriched in pathways. WF4 uses QEA: it feeds the full concentration matrix directly to the GlobalTest algorithm, which has higher statistical power because it uses all quantitative information rather than a binary hit/miss classification.

# 9. Citations

- tidymass: Shen X, et al. TidyMass an object-oriented reproducible analysis framework for LC-MS data. Nature Communications, 2022.

- MetaboAnalystR: Pang Z, et al. MetaboAnalystR 3.0. Metabolites, 2020.

- limma: Ritchie ME, et al. limma powers differential expression analyses. Nucleic Acids Research, 2015.